## ProjectSheet
Project | Lower School Concept Design | PROGRAMMING DOCUMENT
Client | Shorecrest Prep | Revisions to the previous program highlighted in grey.
Date | 2026-04-01
Revision | 2
Proj No | 27520
Dept No | Program Element | Room Qty/ Units | Net SF/ Units | Total Program SF | Design Capacity / Student Stations | Total Stations | Notes/Comments | School Questions
1 | Core Curricula - Classrooms | [5 empty] | (20) existing classrooms (excluding specials) | consider cubbies.
1.1 | Classroom - K | 4 | 850 | 3400 | 16 | 64 | Relocated from Manning, smaller size (existing ~800sf); first floor | configuration more like ES?
1.1.1 | Restroom | 4 | 50 | 200 |  |  | (1) per classroom
1.1.2 | Vestibule | 4 | 50 | 200 |  |  | connecting classrooms/RRs
1.2 | Classroom - 1 | 4 | 850 | 3400 | 16 | 64 | Relocated from Manning, smaller size (existing ~850sf); first floor
1.2.1 | Restroom | 4 | 50 | 200 |  |  | (1) per classroom
1.2.2 | Vestibule | 4 | 50 | 200 |  |  | connecting classrooms/RRs
1.3 | Classroom - 2 | 4 | 850 | 3400 | 16 | 64 | Relocated from Manning, similar size
1.3.1 | Restroom | 4 | 50 | 200 |  |  | (1) per classroom
1.3.2 | Vestibule | 4 | 50 | 200 |  |  | connecting classrooms/RRs
1.4 | Classroom - 3 | 4 | 850 | 3400 | 16 | 64 | Relocated from Manning, similar size
1.4.1 | Restroom | 4 | 50 | 200 |  |  | (1) per classroom
1.4.2 | Vestibule | 4 | 50 | 200 |  |  | connecting classrooms/RRs
1.5 | Classroom - 4 | 4 | 850 | 3400 | 16 | 64 | Relocated from Manning, similar size
1.5.1 | Restroom | 4 | 50 | 200 |  |  | (1) per classroom
1.5.2 | Vestibule | 4 | 50 | 200 |  |  | connecting classrooms/RRs
|  | Total Dept Area |  | 19000 | Total Student Stations | 320
2 | Core Curricula - Labs | [6 empty] | LS roundtable suggested a science lab? Could this be accommodated in the commons?
2.1 | Art | 1 | 1000 | 1000 |  |  | Relocated from Raymund, similar size | more about a project space for exploration
2.1.1 | Storage | 1 | 250 | 250
2.1.2 | Student Restroom | 1 | 50 | 50
2.1.3 | Kiln | 1 | 125 | 125 |  |  | (1) kiln for LS
|  | Total Dept Area |  | 1425 | Total Student Stations | 0
3 | Core- Curricula - Specials | [6 empty] | what specials do ES utilize? Would like to keep on first floor
3.1 | Spanish/Language | 2 | 650 | 1300 |  |  | Relocated from Raymund/Manning, existing 500 SF is too small
3.2 | Block Room | 0 | 500 | 0 |  |  | co-located in common area
3.3 | Student Restroom | 2 | 50 | 100 |  |  | shared amongst specials, if adjacency allows
3.4 | Life Skills | 0 | 500 | 0 |  |  | kitchen, co-located with common area; want to be able to cook with children
3.5 | STEAM | 1 | 1100 | 1100 |  |  | Spark Lab; (4)th Alpha location match that SF
3.5.1 | Storage | 1 | 150 | 150
3.6 | Makerspace | 1 | 650 | 650
3.6.1 | Storage | 1 | 150 | 150
|  | Total Dept Area |  | 3450 | Total Student Stations | 0
4 | Noncore Curricula Instructional Support
4.1 | Common Area | 5 | 775 | 3875 |  |  | (1) per grade level; possibly interconnected to create central atrium; Pull out wet spaces?
4.2 | Grade Level Storage | 5 | 250 | 1250 |  |  | (1) per grade level
4.3 | Teacher Planning/Workroom | 5 | 300 | 1500 |  |  | (1) per grade level; like existing Jack&Jill connection
4.4 | Community Collab | 0 | 1500 | 0
4.5 | Multipurpose Room | 1 | 1200 | 1200 |  |  | possible operable partition to split into two classrooms if needed; may increase in size to consider the LS classroom module
|  | Total Dept Area |  | 7825 | Total Student Stations | 0
5 | Music
5.1 | Music | 1 | 1000 | 1000 |  |  | Relocated from Raymund, similar size
5.1.1 | Storage | 1 | 300 | 300
5.1.2 | Student Restroom | 1 | 50 | 50
|  | Total Dept Area |  | 1350 | Total Student Stations | 0
6 | Athletics
6.1 | Mini-Gym | 1 | 4000 | 4000 |  |  | previous mini-gym was small, ceiling was low; would like to fit a grade level
6.1.1 | Storage | 1 | 400 | 400
6.1.2 | Office | 4 | 125 | 500 |  |  | large space for all (4), or (2) for (2)
6.1.3 | Storage - Aux Programs | 1 | 400 | 400 |  |  | mostly function in LS/ES classrooms or mini-gym
|  | Total Dept Area |  | 5300 | Total Student Stations | 0
7 | Administration/Student Services
7.1 | General Admin Reception | 1 | 17 | 298 |  |  | 5% cap
7.1.1 | Administrative Storage | 1 | 100 | 100
7.2 | LS Head | 1 | 200 | 200 |  |  | (8) max for a meeting
7.3 | Office | 4 | 125 | 500 |  |  | LS administration
7.4 | Conference Room | 1 | 250 | 250 |  |  | slightly larger than existing
7.5 | LS Counselor | 2 | 175 | 350 |  |  | Manning space is ~500sf
7.5.1 | Resource | 1 | 500 | 500 |  |  | go as an entire class, she will go get students one-on-one; more central location for teachers to reduce travel time
7.6 | Curriculum room | 1 | 300 | 300
7.7 | Staff Restroom | 2 | 50 | 100
7.8 | Workroom/Break | 1 | 400 | 400
7.8.1 | Wellness Room | 1 | 120 | 120
7.9 | Clinic | 1 | 500 | 500 |  |  | Relocated from CC; existing 420sf; move to Lower School, keep centrally located; have both interior and exterior access
7.9.1 | Student Restroom | 1 | 100 | 100 |  |  | include shower
7.9.2 | Security Office | 1 | 125 | 125 |  |  | exterior access; works closely with the clinic; centrally located for fastest response time to any area of campus
7.1 | CAE Workroom/Shared Resource | 1 | 500 | 500 |  |  | CAE; can be the same as 7.10
7.10.1 | Office | 3 | 125 | 375 |  |  | CAE; Learning Specialists
7.11 | Homework Lab | 0 | 500 | 0 |  |  | Can this be the CAE workroom/shared resource space?
7.11.1 | Tutoring | 6 | 100 | 600 |  |  | CAE; located adjacent to 7.11; Jennifer verified count
7.12 | Speech | 2 | 125 | 250 |  |  | CAE; ES uses this next most. would like additional offices in ES | plan for ES to have space within current LS library
7.13 | OT | 1 | 300 | 300 |  |  | CAE; ES uses this the most; ideally (2) separate spaces for LS and ES, but could be smaller. would like additional space in ES | plan for ES to have space within current LS library
7.13.1 | Storage | 1 | 100 | 100 |  |  | CAE
7.13.2 | Student Restroom | 1 | 50 | 50 |  |  | CAE
7.14 | Reading Specialist | 1 | 300 | 300 |  |  | need a kidney table for 5-6 students and desk/storage
|  | Total Dept Area |  | 6318 | Total Student Stations | 0
8 | Dining/Student Services | [5 empty] | NOT IN PROGRAM
|  | Total Dept Area |  | 0 | Total Student Stations | 0
9 | Media
9.1 | Open Stack | 1 | 2000 | 2000 |  |  | Relocated from CC; space for 20,000 book collection; existing used as library ~1200sf
9.1.1 | Office | 1 | 125 | 125 |  |  | needs to be separate from processing due to volunteers
9.1.2 | Tech Processing | 1 | 250 | 250 |  |  | match Raymund's relationship of circulation desk/tech processing/office
9.1.3 | Storage | 1 | 150 | 150
9.1.4 | Student Restroom | 1 | 50 | 50
|  | Total Dept Area |  | 2575 | Total Student Stations | 0
8 | Custodial/Building Support
8.1 | Custodial Closet | 4 | 70 | 280 |  |  | located max 150'; qty to be verified
8.2 | Staff Restroom | 4 | 50 | 200 |  |  | (2) individual per floor
8.3 | Student Restroom | 2 | 50 | 100 |  |  | outdoor adjacent to playground
8.4 | Custodial Hub | 1 | 250 | 250 |  |  | 1st floor location
8.5 | Building Maintenance Storage | 2 | 150 | 300 |  |  | (1) per floor
|  | Total Dept Area |  | 1130 | Total Student Stations | 0
|  | Grand Net Area |  | 48373 | Total Student Stations | 320 | approx. 30,000sf at 2nd FL CC if everything removed | new building could be small enough for Raymund to remain if we connect to Charger with a bridge
|  |  |  | Net Sq Ft |  |  |  | could change Raymund back into LS Library/Specials Hub
|  | HVAC/Elect 6% |  | 2902
|  | Circ/Walls 27% |  | 13844 | Utilization Factor = .90, Student Capacity | 288
|  | Total |  | 65119
Gross Sq Ft
|  | Cost/SF |  | 450
|  | Total Projected Cost |  | 29303576.78

## ProgramInfo
Dept No | Program Element | Room Qty/ Units | Net SF/ Units | Total Program SF | Design Capacity / Student Stations | Total Stations | Notes/Comments | Conn. Primary | Flr | Color | Color RGB | Shared Access | Room Width Min. | Aspect Ratio
1.1 | Classroom - K | 4 | 850 | 3400 | 16 | 64 | Relocated from Manning, smaller size (existing ~800sf); first floor | 1.2 | 1 |  | 255, 255, 255 |  |  | 1 to 1
1.1.1 | Restroom | 4 | 50 | 200 | 0 | 0 | (1) per classroom | 1.1 | 1 |  | 255, 255, 255 | x | 5 | None
1.1.2 | Vestibule | 4 | 50 | 200 | 0 | 0 | connecting classrooms/RRs | 1.1.1 | 1 |  | 255, 255, 255 | x
1.2 | Classroom - 1 | 4 | 850 | 3400 | 16 | 64 | Relocated from Manning, smaller size (existing ~850sf); first floor | 1.3 | 1 |  | 255, 255, 255 |  |  | 1 to 1
1.2.1 | Restroom | 4 | 50 | 200 | 0 | 0 | (1) per classroom | 1.2 | 1 |  | 255, 255, 255 | x
1.2.2 | Vestibule | 4 | 50 | 200 | 0 | 0 | connecting classrooms/RRs | 1.2.1 | 1 |  | 255, 255, 255 | x
1.3 | Classroom - 2 | 4 | 850 | 3400 | 16 | 64 | Relocated from Manning, similar size | 1.4 | 1 |  | 255, 255, 255
1.3.1 | Restroom | 4 | 50 | 200 | 0 | 0 | (1) per classroom | 1.3 | 1 |  | 255, 255, 255 | x
1.3.2 | Vestibule | 4 | 50 | 200 | 0 | 0 | connecting classrooms/RRs | 1.3.1 | 1 |  | 255, 255, 255 | x
1.4 | Classroom - 3 | 4 | 850 | 3400 | 16 | 64 | Relocated from Manning, similar size | 1.5 |  |  | 255, 255, 255
1.4.1 | Restroom | 4 | 50 | 200 | 0 | 0 | (1) per classroom | 1.4 |  |  | 255, 255, 255 | x
1.4.2 | Vestibule | 4 | 50 | 200 | 0 | 0 | connecting classrooms/RRs | 1.4.1 |  |  | 255, 255, 255 | x
1.5 | Classroom - 4 | 4 | 850 | 3400 | 16 | 64 | Relocated from Manning, similar size | 1.1 |  |  | 255, 255, 255
1.5.1 | Restroom | 4 | 50 | 200 | 0 | 0 | (1) per classroom | 1.5 |  |  | 255, 255, 255 | x
1.5.2 | Vestibule | 4 | 50 | 200 | 0 | 0 | connecting classrooms/RRs | 1.5.1 |  |  | 255, 255, 255 | x
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 255, 255, 255
2.1 | Art | 1 | 1000 | 1000 | 0 | 0 | Relocated from Raymund, similar size | 1.4 |  |  | 255, 255, 255
2.1.1 | Storage | 1 | 250 | 250 | 0 | 0 | 0 | 2.1 |  |  | 255, 255, 255 | x
2.1.2 | Student Restroom | 1 | 50 | 50 | 0 | 0 | 0 | 2.1 |  |  | 255, 255, 255 | x
2.1.3 | Kiln | 1 | 125 | 125 | 0 | 0 | (1) kiln for LS | 2.1 |  |  | 255, 255, 255 | x
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 255, 255, 255
3.1 | Spanish/Language | 2 | 650 | 1300 | 0 | 0 | Relocated from Raymund/Manning, existing 500 SF is too small | 1.5 |  |  | 255, 255, 255
3.2 | Block Room | 0 | 500 | 0 | 0 | 0 | co-located in common area | 3.1 |  |  | 255, 255, 255
3.3 | Student Restroom | 2 | 50 | 100 | 0 | 0 | shared amongst specials, if adjacency allows | 3.1 |  |  | 255, 255, 255
3.4 | Life Skills | 0 | 500 | 0 | 0 | 0 | kitchen, co-located with common area; want to be able to cook with children | 1.3 |  |  | 255, 255, 255
3.5 | STEAM | 1 | 1100 | 1100 | 0 | 0 | Spark Lab; (4)th Alpha location match that SF | 1.2 |  |  | 255, 255, 255
3.5.1 | Storage | 1 | 150 | 150 | 0 | 0 | 0 | 3.5 |  |  | 255, 255, 255 | x
3.6 | Makerspace | 1 | 650 | 650 | 0 | 0 | 0 | 1.5 |  |  | 255, 255, 255
3.6.1 | Storage | 1 | 150 | 150 | 0 | 0 | 0 | 3.6 |  |  | 255, 255, 255 | x
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 255, 255, 255
4.1 | Common Area | 5 | 775 | 3875 | 0 | 0 | (1) per grade level; possibly interconnected to create central atrium; Pull out wet spaces? | 1.1 |  |  | 255, 255, 255
4.2 | Grade Level Storage | 5 | 250 | 1250 | 0 | 0 | (1) per grade level | 1.2 |  |  | 255, 255, 255
4.3 | Teacher Planning/Workroom | 5 | 300 | 1500 | 0 | 0 | (1) per grade level; like existing Jack&Jill connection | 1.3 |  |  | 255, 255, 255
4.4 | Community Collab | 0 | 1500 | 0 | 0 | 0 | 0 | 1.4 |  |  | 255, 255, 255
4.5 | Multipurpose Room | 1 | 1200 | 1200 | 0 | 0 | possible operable partition to split into two classrooms if needed; may increase in size to consider the LS classroom module | 4.3 |  |  | 255, 255, 255
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 255, 255, 255
5.1 | Music | 1 | 1000 | 1000 | 0 | 0 | Relocated from Raymund, similar size | 1.1 |  |  | 255, 255, 255
5.1.1 | Storage | 1 | 300 | 300 | 0 | 0 | 0 | 5.1 |  |  | 255, 255, 255 | x
5.1.2 | Student Restroom | 1 | 50 | 50 | 0 | 0 | 0 | 5.1 |  |  | 255, 255, 255 | x
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 255, 255, 255
6.1 | Mini-Gym | 1 | 4000 | 4000 | 0 | 0 | previous mini-gym was small, ceiling was low; would like to fit a grade level | 4.1 | 1 |  | 255, 255, 255
6.1.1 | Storage | 1 | 400 | 400 | 0 | 0 | 0 | 6.1 | 1 |  | 255, 255, 255 | x
6.1.2 | Office | 4 | 125 | 500 | 0 | 0 | large space for all (4), or (2) for (2) | 6.1 | 1 |  | 255, 255, 255
6.1.3 | Storage - Aux Programs | 1 | 400 | 400 | 0 | 0 | mostly function in LS/ES classrooms or mini-gym | 6.1 |  |  | 255, 255, 255 | x
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 255, 255, 255
7.1 | General Admin Reception | 1 | 17 | 298 | 0 | 0 | 5% cap | 4.1 | 1 |  | 255, 255, 255
7.1.1 | Administrative Storage | 1 | 100 | 100 | 0 | 0 | 0 | 7.1 | 1 |  | 255, 255, 255
7.2 | LS Head | 1 | 200 | 200 | 0 | 0 | (8) max for a meeting | 7.3 | 1 |  | 255, 255, 255
7.3 | Office | 4 | 125 | 500 | 0 | 0 | LS administration | 7.4 | 1 |  | 255, 255, 255
7.4 | Conference Room | 1 | 250 | 250 | 0 | 0 | slightly larger than existing | 7.1 | 1 |  | 255, 255, 255
7.5 | LS Counselor | 2 | 175 | 350 | 0 | 0 | Manning space is ~500sf | 7.2 | 1 |  | 255, 255, 255
7.5.1 | Resource | 1 | 500 | 500 | 0 | 0 | go as an entire class, she will go get students one-on-one; more central location for teachers to reduce travel time | 7.5 | 1 |  | 255, 255, 255 | x
7.6 | Curriculum room | 1 | 300 | 300 | 0 | 0 | 0 | 4.3 | 1 |  | 255, 255, 255
7.7 | Staff Restroom | 2 | 50 | 100 | 0 | 0 | 0 | 7.6 | 1 |  | 255, 255, 255
7.8 | Workroom/Break | 1 | 400 | 400 | 0 | 0 | 0 | 7.7 | 1 |  | 255, 255, 255
7.8.1 | Wellness Room | 1 | 120 | 120 | 0 | 0 | 0 | 7.8 | 1 |  | 255, 255, 255
7.9 | Clinic | 1 | 500 | 500 | 0 | 0 | Relocated from CC; existing 420sf; move to Lower School, keep centrally located; have both interior and exterior access | 1.1 | 1 |  | 255, 255, 255
7.9.1 | Student Restroom | 1 | 100 | 100 | 0 | 0 | include shower | 7.9 | 1 |  | 255, 255, 255 | x
7.9.2 | Security Office | 1 | 125 | 125 | 0 | 0 | exterior access; works closely with the clinic; centrally located for fastest response time to any area of campus | 7.9 | 1 |  | 255, 255, 255
7.1 | CAE Workroom/Shared Resource | 1 | 500 | 500 | 0 | 0 | CAE; can be the same as 7.10 | 1.2 | 1 |  | 255, 255, 255
7.10.1 | Office | 3 | 125 | 375 | 0 | 0 | CAE; Learning Specialists | 7.1 | 1 |  | 255, 255, 255
7.11 | Homework Lab | 0 | 500 | 0 | 0 | 0 | Can this be the CAE workroom/shared resource space? | 1.3 |  |  | 255, 255, 255
7.11.1 | Tutoring | 6 | 100 | 600 | 0 | 0 | CAE; located adjacent to 7.11; Jennifer verified count | 7.11 |  |  | 255, 255, 255
7.12 | Speech | 2 | 125 | 250 | 0 | 0 | CAE; ES uses this next most. would like additional offices in ES | 1.1 |  |  | 255, 255, 255
7.13 | OT | 1 | 300 | 300 | 0 | 0 | CAE; ES uses this the most; ideally (2) separate spaces for LS and ES, but could be smaller. would like additional space in ES | 1.2 |  |  | 255, 255, 255
7.13.1 | Storage | 1 | 100 | 100 | 0 | 0 | CAE | 7.13 |  |  | 255, 255, 255 | x
7.13.2 | Student Restroom | 1 | 50 | 50 | 0 | 0 | CAE | 7.13 |  |  | 255, 255, 255
7.14 | Reading Specialist | 1 | 300 | 300 | 0 | 0 | need a kidney table for 5-6 students and desk/storage | 1.2 |  |  | 255, 255, 255
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 255, 255, 255
9.1 | Open Stack | 1 | 2000 | 2000 | 0 | 0 | Relocated from CC; space for 20,000 book collection; existing used as library ~1200sf | 4.1 |  |  | 255, 255, 255
9.1.1 | Office | 1 | 125 | 125 | 0 | 0 | needs to be separate from processing due to volunteers | 9.1 |  |  | 255, 255, 255 | x
9.1.2 | Tech Processing | 1 | 250 | 250 | 0 | 0 | match Raymund's relationship of circulation desk/tech processing/office | 9.1 |  |  | 255, 255, 255 | x
9.1.3 | Storage | 1 | 150 | 150 | 0 | 0 | 0 | 9.1 |  |  | 255, 255, 255 | x
9.1.4 | Student Restroom | 1 | 50 | 50 | 0 | 0 | 0 | 9.1 |  |  | 255, 255, 255 | x
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 255, 255, 255
8.1 | Custodial Closet | 4 | 70 | 280 | 0 | 0 | located max 150'; qty to be verified | 6.1 |  |  | 255, 255, 255
8.2 | Staff Restroom | 4 | 50 | 200 | 0 | 0 | (2) individual per floor | 7.1 |  |  | 255, 255, 255
8.3 | Student Restroom | 2 | 50 | 100 | 0 | 0 | outdoor adjacent to playground | 4.1 |  |  | 255, 255, 255
8.4 | Custodial Hub | 1 | 250 | 250 | 0 | 0 | 1st floor location | 8.1 | 1 |  | 255, 255, 255
8.5 | Building Maintenance Storage | 2 | 150 | 300 | 0 | 0 | (1) per floor | 8.1 | 1 |  | 255, 255, 255 | x
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 255, 255, 255

## ProjectInfo
Project Name | Lower School Concept Design
Project Address
General Project Boundary